水簾牛舍紓解乳牛熱緊迫之可行性評估 (一) 畜舍環境參數

謝昭賢 蕭宗法 楊德威 李春芳 李恆夫
行政院農業委員會畜產試驗所

水簾牛舍的設計為一端由風扇抽風，將空氣經另一端的水簾抽入而降溫。本試驗為測定2005年7月至9月間水簾牛舍與一般挑高太子樓牛舍在飼養乳牛群時之畜舍環境參數。環境參數包括牛隻飲水量、耗電量、風速、畜舍溫度、畜舍濕度及溫濕度指數。水簾牛舍與一般牛舍之8月份牛隻飲水量分別為64.2及49.5 L/au/d；8月份耗電量分別平均為0.008及0.003 kWh/au/d；8月11日開始至10月5日止，水簾與一般牛舍定點測定離地1、1.5及2 m高之溫度分別為29.5及32.3℃、29.2及32.3℃、29.4及32.4℃；離地1、1.5及2 m高之風速分別為1.31及1.48 m/s、1.37及1.37 m/s、1.43及1.12 m/s；7月23日開始48天之大氣、水簾及一般牛舍平均溫度分別為28.6、26.6及27.8℃；相對濕度分別為81.5、97.6及88.5%；溫濕度指數 (THI) 分別為80.6、79.5及80.3。

關鍵語：熱季、水簾牛舍、環境參數

EVALUATION OF HEAT STRESS RELIEF FOR LACTATING COWS BY
THE WET-PADDING BARN I. ENVIRONMENTAL PARAMETERS

C. H. Hsieh, T. F. Shiao, D. W. Yang, C. F. Lee and H. F. Lee
Livestock Research Institute, Council of Agriculture

Wet-padding free stall barn (WP) was designed with one row of exhaustive fans that drew the air through the wet pad in the other end and thus lowered the air temperature. Environmental parameters included amount of drinking water, electricity, wind velocity, temperature, relative humidity and THI were measured both in WP barn and naturally ventilated free stall barn (NV) from July to September in 2005. Amount of drinking water from WP barn and NV barn during August were 64.2 and 49.5 L/au/d, electricity were 0.008 and 0.003 kWh/au/d, temperature at height 1, 1.5 and 2 m from August to October were 29.5 and 32.3℃, 29.2 and 32.3℃ and 29.4 and 32.4℃, and wind velocity at height 1, 1.5 and 2 m were 1.31 and 1.48 m/s, 1.37 and 1.37 m/s, 1.43 and 1.12 m/s, respectively. Average temperature measured by data logger in ambient, WP barn and NV barn for 48 days during hot season were 28.6、26.6 and 27.8℃, average relative humidity were 81.5, 97.6及88.5%, and average temperature and humidity index were 80.6, 79.5 and 80, respectively.

Key Words: Hot season, Wet-padding barn, Environmental parameters
水簾牛舍紓解乳牛熱緊迫之可行性評估 (二) 生理反應
蕭宗法 李春芳 楊德威 李恆夫 謝昭賢
行政院農業委員會畜產試驗所
水簾畜舍用於紓解雞與豬的夏季熱緊迫，已相當普遍且有成效。本試驗在於探討水簾牛舍用於紓解荷蘭乳牛熱緊迫時的生理反應。荷蘭泌乳牛44頭逢機分成二組，分別飼養於水簾牛舍與一般牛舍，並給與相同的飼養管理。試驗採交叉設計每一期為30日。試驗結果顯示，水簾牛舍環境使下飼養的牛隻有較高的4 a.m.呼吸數 (62.2 vs. 49.8次/分鐘，P < .001)、4 a.m直腸溫 (39.58 vs. 39.31℃, P < .01) 及2 p.m.直腸溫 (39.75 vs. 39.47℃, P < .03)。水簾牛舍牛隻的血清總蛋白質 (9.8 vs. 9.2 g/dL) 及磷 (12.6 vs. 7.3 mg/dL) 顯著較高；但血清膽固醇 (140 vs. 171 mg/dL) 及麥胺丙酮酸轉胺酶 (GPT, 29.9 vs. 39.1 U/L) 顯著降低。綜上所述，水簾牛舍持續的高濕度狀況 (相對溼度自92%到100%)，可能造成牛隻體熱無法自體表散發，而造成體溫偏高，因此推論要利用水簾牛舍來紓解荷蘭乳牛的熱緊迫，如何有效降低其相對濕度應為主要關鍵。
關鍵語：熱緊迫、水簾牛舍、生理反應

EVALUATION OF HEAT STRESS RELIEF FOR LACTATING COWS BY THE WET-PADDING BARN II. PHYSIOLOGICAL RESPONCE
T. F. Shiao, C. F. Lee, D. W. Yang, H. F. Lee and C. H. Hsieh
Livestock Research Institute, Council of Agriculture
Wet-padding (WP) had been successfully applied to reduce heat stress in chicken and swine. In this study, physiological responses of Holstein lactating cows raised in WP barn were evaluated. Total 44 cows were randomly assigned into two groups, WP barn or naturally ventilated free stall barn (NV), under a crossover design with 30 days a period. Results showed that cows raised in the WP barn had higher 4 a.m. respiration rate (62.2 vs. 49.8 breaths/min, P <. 001), 4 a.m. rectal temperature (39.58 vs. 39.31℃, P < .01), and 2 p.m. rectal temperature (39.75 vs. 39.47℃, P < .03). Serum total protein (9.8 vs. 9.2 g/dL) and phosphorous (12.6 vs. 7.3 mg/dL) of cows in the WP barn were significantly higher than those in NV barn. However, serum cholesterol (140 vs. 171 mg/dL) and GPT (29.9 vs. 39.1 U/L) levels of cows in the WP barn were lower. It might be due to the persistent high level of relative humidity (range from 92% to 100%) in the WP barn that inhibited the heat evaporation from the skin. How to reduce the relative humidity in the WP barn might be the key aspect to study in the future.
Key Words: Heat stress, Wet-padding barn, Physiological response

FSH與LH比例對荷蘭乳牛超級排卵的影響
蕭宗法 楊德威 謝昭賢
行政院農業委員會畜產試驗所
相關研究指出適當的FSH與LH比例，在熱環境下有增加黃體數及可移置胚數量之效果。本次試驗即在探討超級排卵過程中不同外源內泌素FSH與LH處理比例，對夏季荷蘭乳牛胚生產效率的影響。以28頭經產荷蘭種母牛為供胚牛，注射2.0 mL 預安得 (Estrumate®) 同期化發情後逢機分成四組，分別於發情後11至14日間給與FSH:LH比例1:0、4:1、2:1或1:1混合之外源內泌素7次。配種後7到7.5日以直腸觸診判定黃體數，並以非外科手術洗胚。結果顯示，四處理組黃體數分別為9.5、12.5、6.7與15.8個；總回收卵/胚數分別為4.9、4.1、3.5與7.1個；可移置胚數分別為3.4、2.6、1.4與3.4個；死亡胚及未受精卵佔總回收的卵/胚數比例分別為30.7、37.9、46.2與52.6%。黃體數除FSH:LH 2:1組較少外，其餘三組有因LH比例增加而增加的趨勢；但胚的損失比例也隨LH比例增加而加大，因此若能進一步解決高LH導致不可用胚增加的原因，則將可有效提高乳牛胚生產效率。
關鍵語：超級排卵、FSH、LH、胚

EFFECT OF FSH AND LH RATIO ON SUPEROVULATORY RESPONSES OF HOLSTEIN DAIRY COWS
T. F. Shiao, D. W. Yang and C. H. Hsieh
Livestock Research Institute, Council of Agriculture
Relative studies had showed that proper LH administration during superovulation process could yield more corpus luteum (CL) and transferable embryos during heat stress. This experiment was designed to determine the effects of variant ratio of exogenous FSH and LH on superovulation responses in Holstein cows. A total of 28 multiparous cows synchronized by 2 mL of Estrumate® were randomly assigned into four groups. During day 11 to day 14 of whole process, cows received 7-times administration of FSH:LH with ratios 1:0, 4:1, 2:1 or 1:1. After artificial insemination 7 to 7.5 days, numbers of CL was checked by rectal palpation and embryo flushing was proceeded by non-surgical operation. Results showed that CL numbers of four groups were 9.5, 12.5, 6.7 and 15.8; total ova/embryo recovery were 4.9, 4.1, 3.5 and 7.1; transferable embryos were 3.4, 2.6, 1.4 and 3.4; percentage of dead embryos and unfertilized ova were 30.7, 37.9, 46.2 and 52.6%, respectively. Except the 2:1 ratio treatment, CL numbers tended to increase with increasing LH level, however, increased LH level also induced more loss of embryos. It was necessary to clarify the mechanism of embryo loss before significant improvement of embryo production efficiency could be achieved by LH.
Key Words: Superovulation, FSH, LH, Embryo